## Sheet1
H1 S6 Instrumental Lines - https://wiki.ligo.org/DetChar/S6LinesToBeCleaned
Column 1: Frequency (for single lines)
Column 2: Frequency (for lines with harmonics)
Column 3: No. of harmonics to remove
Column 4: Left width
Column 5: Right width
% Lines that were known from S5
0 | 60 | 30 | 1 | 1 | /*60_Hz_lines*/
46.7 | 0 | 1 | 0 | 0 | /*Calibration_line*/
346 | 0 | 1 | 4 | 4 | /*violin_modes_etc*/
393.1 | 0 | 1 | 0 | 0 | /*Calibration_line*/
686.9 | 0 | 1 | 0.3 | 0.3 | /*second_harmonic_violin_part1_A*/
688.2 | 0 | 1 | 0.3 | 0.3 | /*second_harmonic_violin_part1_B*/
689.5 | 0 | 1 | 0.5 | 0.6 | /*second_harmonic_violin_part1_C*/
694.75 | 0 | 1 | 1.25 | 1.25 | /*second_harmonic_violin_part2*/
1030.55 | 0 | 1 | 0.1 | 0.1 | /*third_harmonic_violin_part1*/
1032.18 | 0 | 1 | 0.04 | 0.04 | /*third_harmonic_violin_part2*/
1032.58 | 0 | 1 | 0.1 | 0.1 | /*third_harmonic_violin_part3*/
1033.7 | 0 | 1 | 0.1 | 0.1 | /*third_harmonic_violin_partMIKE*/
1033.855 | 0 | 1 | 0.05 | 0.05 | /*third_harmonic_violin_part4*/
1034.6 | 0 | 1 | 0.4 | 0.4 | /*third_harmonic_violin_part5*/
1041.23 | 0 | 1 | 0.1 | 0.1 | /*third_harmonic_violin_part6*/
1042 | 0 | 1 | 0.5 | 0.2 | /*third_harmonic_violin_part7*/
1043.4 | 0 | 1 | 0.2 | 0.2 | /*third_harmonic_violin_part8*/
1144.3 | 0 | 1 | 0 | 0 | /*Calibration_line*/
1373.75 | 0 | 1 | 0.1 | 0.1 | /*fourth_harmonic_violin_partMIKE*/
1374.44 | 0 | 1 | 0.1 | 0.1 | /*fourth_harmonic_violin_part1*/
1377.14 | 0 | 1 | 0.1 | 0.1 | /*fourth_harmonic_violin_part2*/
1378.75 | 0 | 1 | 0.1 | 0.1 | /*fourth_harmonic_violin_partMIKE*/
1379.52 | 0 | 1 | 0.1 | 0.1 | /*fourth_harmonic_violin_partMIKE*/
1389.06 | 0 | 1 | 0.06 | 0.06 | /*fourth_harmonic_violin_part3*/
1389.82 | 0 | 1 | 0.07 | 0.07 | /*fourth_harmonic_violin_part4*/
1391.5 | 0 | 1 | 0.2 | 0.2 | /*fourth_harmonic_violin_part5*/
% Miscellaneous electronics
% http://ilog.ligo-wa.caltech.edu/ilog/pub/ilog.cgi?group=detector&date_to_view=04/17/2010&anchor_to_scroll_to=2011:01:14:17:09:40-robert
85.8 | 0 | 1 | 0.01 | 0.01 | /*LVEAH1RackMag_Electronics*/
89.9 | 0 | 1 | 0.06 | 0.06 | /*5Vh1lscauxIOPowerSupply*/
93.05 | 0 | 1 | 0.01 | 0.01 | /*BSC10MICandMAG*/
93.25 | 0 | 1 | 0.01 | 0.01 | /*MMT1-2-3ShadowSensors*/
139.95 | 0 | 1 | 0.01 | 0.01 | /*+15VSupplyRippleElectronics*/
164.52 | 0 | 1 | 0.01 | 0.01 | /*H1dscl2+5V*/
329.58 | 0 | 1 | 0.02 | 0.01 | /*DemodMag*/
329.86 | 0 | 1 | 0.01 | 0.02 | /*DemodMag*/
539.43 | 0 | 1 | 0.01 | 0.01 | /*H1centerSupply-5V*/
548.36 | 0 | 1 | 0.01 | 0.01 | /*ISCIOCPUField*/
649.87 | 0 | 1 | 0.01 | 0.01 | /*BiggerInManyAuxChans*/
659.31 | 0 | 1 | 0.01 | 0.01 | /*EX+15Vripple*/
915.8 | 0 | 1 | 0.01 | 0.01 | /*adcuEXMagField*/
960 | 0 | 1 | 0.01 | 0.01 | /*DuoToneTiming*/
961 | 0 | 1 | 0.01 | 0.01 | /*DuoToneTiming*/
995.5 | 0 | 1 | 0.01 | 0.01 | /*EX+15Vripple*/
1009.7 | 0 | 1 | 0.01 | 0.01 | /*EX+15Vripple*/
1033.78 | 0 | 1 | 0.01 | 0.01 | /*EX+15V*/
% Miscellaneous newly identified violin modes:
% http://ilog.ligo-wa.caltech.edu/ilog/pub/ilog.cgi?group=detector&date_to_view=04/17/2010&anchor_to_scroll_to=2011:01:14:17:09:40-robert
329.7 | 0 | 1 | 0.3 | 0.3 | /*BS_Violin*/
335.75 | 0 | 1 | 0.25 | 0.25 | /*RM_Violin*/
564.07 | 0 | 1 | 0.15 | 0.15 | /*MC_Violin*/
566.1 | 0 | 1 | 0.2 | 0.2 | /*MC_Violin*/
568.1 | 0 | 1 | 0.2 | 0.2 | /*MC_Violin*/
646.385 | 0 | 1 | 0.2 | 0.2 | /*MC_Violin*/
648.835 | 0 | 1 | 0.2 | 0.2 | /*MC_Violin*/
659.4 | 0 | 1 | 0.6 | 0.6 | /*BS_Violin*/
989.1 | 0 | 1 | 0.9 | 0.9 | /*BS_Violin*/
1042.65 | 0 | 1 | 0.45 | 0.45 | /*Core_Violin_3rdHarmonic*/
1128.14 | 0 | 1 | 0.3 | 0.3 | /*MC_Violin*/
1132.2 | 0 | 1 | 0.4 | 0.4 | /*MC_Violin*/
1136.2 | 0 | 1 | 0.4 | 0.4 | /*MC_Violin*/
1292.77 | 0 | 1 | 0.4 | 0.4 | /*MC_Violin*/
1297.67 | 0 | 1 | 0.4 | 0.4 | /*MC_Violin*/
1376.61 | 0 | 1 | 0.05 | 0.05 | /*Core_Violin_4thHarmonic*/
1380.03 | 0 | 1 | 0.03 | 0.03 | /*Core_Violin_4thHarmonic*/
1692.21 | 0 | 1 | 0.45 | 0.45 | /*MC_Violin*/
1698.3 | 0 | 1 | 0.6 | 0.6 | /*MC_Violin*/
1704.3 | 0 | 1 | 0.6 | 0.6 | /*MC_Violin*/
1718.57 | 0 | 1 | 0.04 | 0.04 | /*Core_Violin_5thHarmonic*/
1721.92 | 0 | 1 | 0.03 | 0.03 | /*Core_Violin_5thHarmonic*/
1724.01 | 0 | 1 | 0.07 | 0.07 | /*Core_Violin_5thHarmonic*/
1724.97 | 0 | 1 | 0.03 | 0.03 | /*Core_Violin_5thHarmonic*/
1725.62 | 0 | 1 | 0.03 | 0.03 | /*Core_Violin_5thHarmonic*/
1737.94 | 0 | 1 | 0.02 | 0.02 | /*Core_Violin_5thHarmonic*/
1738.99 | 0 | 1 | 0.02 | 0.02 | /*Core_Violin_5thHarmonic*/
1739.83 | 0 | 1 | 0.03 | 0.03 | /*Core_Violin_5thHarmonic*/
1740.03 | 0 | 1 | 0.03 | 0.03 | /*Core_Violin_5thHarmonic*/
1939.155 | 0 | 1 | 0.6 | 0.6 | /*MC_Violin*/
1946.505 | 0 | 1 | 0.6 | 0.6 | /*MC_Violin*/
% Combs within combs: see http://gallatin.physics.lsa.umich.edu/~keithr/cw/lines_apr10/
% Sidebands (25.7109 Hz) of 217.5428 Hz:
140.41 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombA*/
166.1205 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombA*/
191.8322 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombA*/
217.5428 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombA*/
243.2539 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombA*/
268.965 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombA*/
294.6756 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombA*/
320.3867 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombA*/
346.0972 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombA*/
371.8077 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombA*/
397.5194 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombA*/
423.2306 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombA*/
% Sidebands (25.7109 Hz) of 486.5078 Hz
383.6639 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombB*/
409.3705 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombB*/
435.0861 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombB*/
460.7967 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombB*/
486.5078 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombB*/
512.2189 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombB*/
537.9288 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombB*/
563.6393 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombB*/
% Sidebands (25.7109 Hz) of 704.0506 Hz
626.9178 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombC*/
652.6289 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombC*/
678.3401 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombC*/
704.0506 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombC*/
729.7617 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombC*/
755.4728 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombC*/
806.8944 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombC*/
832.6056 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombC*/
% Sidebands (25.7109 Hz) of 921.5939 Hz
844.4611 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombD*/
870.1717 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombD*/
895.8828 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombD*/
921.5939 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombD*/
947.3044 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombD*/
973.0156 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombD*/
% Sidebands (25.7109 Hz) of 1139.1367 Hz
1139.1367 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombE*/
1164.8478 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombE*/
1190.5583 | 0 | 1 | 0.0006 | 0.0006 | /*25.7109Hz_Sideband_CombE*/
% VME CPU lines coincident between H1 and L1
% http://ilog.ligo-wa.caltech.edu/ilog/pub/ilog.cgi?group=detector&date_to_view=09/06/2009&anchor_to_scroll_to=2009:09:06:10:56:14-robert
54.496 | 0 | 1 | 0.0006 | 0.0006 | /*VME_CPU_Fundamental*/
108.992 | 0 | 1 | 0.0006 | 0.0006 | /*VME_CPU_Harmonic*/
% 2-Hz harmonics seen in early S6 in *both* H1 and L1 (based on PowerFlux outliers up to 1200 Hz)
$ https://ldas-jobs.ligo.caltech.edu/~keithr/EarlyS6Artifacts/
52 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
96 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
110 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
120 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
128 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
138 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
140 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
144 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
150 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
158 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
168 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
172 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
174 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
176 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
178 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
184 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
188 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
196 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
204 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
206 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
214 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
216 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
226 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
236 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
244 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
252 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
254 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
256 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
260 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
264 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
266 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
268 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
270 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
274 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
282 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
286 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
298 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
308 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
316 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
334 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
376 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
384 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
394 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
402 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
414 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
418 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
422 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
432 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
440 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
448 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
462 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
466 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
468 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
474 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
482 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
488 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
496 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
508 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
530 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
534 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
542 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
560 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
564 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
568 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
572 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
584 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
590 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
594 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
616 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
632 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
636 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
644 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
654 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
658 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
684 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
692 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
704 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
718 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
722 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
730 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
740 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
748 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
760 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
786 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
812 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
816 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
820 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
824 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
842 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
846 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
852 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
854 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
876 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
880 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
884 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
888 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
896 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
902 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
914 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
936 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
942 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
944 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
970 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
990 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
1000 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
1004 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
1038 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
1076 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
1102 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
1110 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
1116 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
1132 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
1134 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
1142 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
1162 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
1178 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
% Additional 2-Hz lines seen in H1 and L1 (three 1-Hz)
% https://wiki.ligo.org/DetChar/S6NoiseLineWiki2HzHarmonics
64 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
68 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
76 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
80 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
82 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
90 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
98 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
102 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
109 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
111 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
112 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
116 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
124 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
132 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
142 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
154 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
162 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
166 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
170 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
192 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
218 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
221 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
222 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
234 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
242 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
248 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
262 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
278 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
280 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
290 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
312 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
320 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
372 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
380 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
410 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
430 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
435 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
470 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
500 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
504 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
524 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
580 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
608 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
624 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
628 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
666 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
756 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
834 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
850 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
870 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
926 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
954 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
963 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
954 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
982 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
% Other lines of unknown but clearly digital origin:
% https://wiki.ligo.org/DetChar/392point1863
392.2 | 0 | 1 | 0.0006 | 0.0006 | /*Digital*/
% New lines from Robert's March 24, 2011 e-mail:
55.8 | 0 | 1 | 0.05 | 0.05 | /*MagAtaLIGOBlueADDA*/
56.875 | 0 | 1 | 0.005 | 0.005 | /*MagAtaLIGOBlueADDA*/
58.625 | 0 | 1 | 0.005 | 0.005 | /*MagAtaLIGOBlueADDA*/
69 | 0 | 1 | 0.05 | 0.05 | /*MagHAM6*/
85.375 | 0 | 1 | 0.005 | 0.005 | /*MagAtaLIGOBlueADDA*/
113.75 | 0 | 1 | 0.01 | 0.01 | /*MagAtaLIGOBlueADDA*/
140.24 | 0 | 1 | 0.01 | 0.01 | /*Ripple+147V*/
153.75 | 0 | 1 | 0.05 | 0.05 | /*MagAtPentek*/
158 | 0 | 1 | 0.05 | 0.05 | /*FoundrySwitch*/
199.57 | 0 | 1 | 0.01 | 0.01 | /*Ripple-15V*/
210.36 | 0 | 1 | 0.01 | 0.01 | /*Ripplelsc10*/
373.5 | 0 | 1 | 0.05 | 0.05 | /*MagAtPentek*/
401.5 | 0 | 1 | 0.05 | 0.05 | /*MagAtPentek*/
546.06 | 0 | 1 | 0.17 | 0.15 | /*MC2ViolinPoorClamp*/
566.08 | 0 | 1 | 0.01 | 0.01 | /*Ripplelsc10+5*/
568.04 | 0 | 1 | 0.01 | 0.01 | /*Ripplelsc10+5*/
568.085 | 0 | 1 | 0.005 | 0.005 | /*Ripplelsc10+5-12*/
568.125 | 0 | 1 | 0.005 | 0.005 | /*MagAtPentek*/
646.375 | 0 | 1 | 0.005 | 0.005 | /*MagAtPentek*/
648.835 | 0 | 1 | 0.165 | 0.15 | /*MC1Violin*/
1092.12 | 0 | 1 | 0.34 | 0.3 | /*MC2ViolinPoorClamp*/
1297.67 | 0 | 1 | 0.33 | 0.3 | /*MC1Violin*/
1638.18 | 0 | 1 | 0.51 | 0.45 | /*MC2ViolinPoorClamp*/
1946.505 | 0 | 1 | 0.495 | 0.45 | /*MC1Violin*/
% Narrow 1 Hz comb:
0 | 1 | 2000 | 0.0006 | 0.0006 | /*1_Hz_lines_narrow*/