## Sheet1
L1 Instrumental Lines for S6
Column 1: Frequency (for single lines)
Column 2: Frequency (for lines with harmonics)
Column 3: No. of harmonics to remove
Column 4: Left width
Column 5: Right width
% First set of lines were used for S5 - still apply to S6:
0 | 60 | 30 | 1 | 1 | /*60_Hz_lines*/
54.7 | 0 | 1 | 0 | 0 | /*Calibration_line*/
345 | 0 | 1 | 5 | 5 | /*violin_modes_etc*/
396.7 | 0 | 1 | 0 | 0 | /*Calibration_line*/
686.5 | 0 | 1 | 1 | 1 | /*second_harmonic_violin_part1*/
688.83 | 0 | 1 | 0.5 | 0.5 | /*second_harmonic_violin_part2*/
693.7 | 0 | 1 | 0.7 | 0.7 | /*second_harmonic_violin_part3*/
1029.5 | 0 | 1 | 0.25 | 0.25 | /*third_harmonic_violin_part1*/
1031 | 0 | 1 | 0.5 | 0.5 | /*third_harmonic_violin_part2*/
1033.6 | 0 | 1 | 0.2 | 0.2 | /*third_harmonic_violin_part3*/
1041 | 0 | 1 | 1 | 1 | /*third_harmonic_violin_part4*/
1151.5 | 0 | 1 | 0 | 0 | /*Calibration_line*/
1372.925 | 0 | 1 | 0.075 | 0.075 | /*fourth_harmonic_violin_part1*/
1374.7 | 0 | 1 | 0.1 | 0.1 | /*fourth_harmonic_violin_part2*/
1375.2 | 0 | 1 | 0.1 | 0.1 | /*fourth_harmonic_violin_part3*/
1378.39 | 0 | 1 | 0.1 | 0.1 | /*fourth_harmonic_violin_part4*/
1387.4 | 0 | 1 | 0.05 | 0.05 | /*fourth_harmonic_violin_part5*/
1388.5 | 0 | 1 | 0.3 | 0.3 | /*fourth_harmonic_violin_part6*/
% Miscellaneous electronics
% http://ilog.ligo-wa.caltech.edu/ilog/pub/ilog.cgi?group=detector&date_to_view=04/17/2010&anchor_to_scroll_to=2011:01:14:17:09:40-robert
93.29 | 0 | 1 | 0.015 | 0.015 | /*OpticalLeverA*/
96.71 | 0 | 1 | 0.015 | 0.015 | /*OpticalLeverB*/
139.94 | 0 | 1 | 0.02 | 0.02 | /*OpticalLeverA*/
145.06 | 0 | 1 | 0.02 | 0.02 | /*OpticalLeverB*/
186.59 | 0 | 1 | 0.025 | 0.025 | /*OpticalLeverA*/
193.42 | 0 | 1 | 0.025 | 0.025 | /*OpticalLeverB*/
233.23 | 0 | 1 | 0.05 | 0.05 | /*OpticalLeverA*/
241.78 | 0 | 1 | 0.07 | 0.07 | /*OpticalLeverB*/
960 | 0 | 1 | 0.01 | 0.01 | /*DuoToneTiming*/
961 | 0 | 1 | 0.01 | 0.01 | /*DuoToneTiming*/
1920 | 0 | 1 | 0.01 | 0.01 | /*DuoToneTiming*/
1921 | 0 | 1 | 0.01 | 0.01 | /*DuoToneTiming*/
1922 | 0 | 1 | 0.01 | 0.01 | /*DuoToneTiming*/
% Miscellaneous newly identified violin modes:
% http://ilog.ligo-wa.caltech.edu/ilog/pub/ilog.cgi?group=detector&date_to_view=04/17/2010&anchor_to_scroll_to=2011:01:14:17:09:40-robert
329.32 | 0 | 1 | 0.11 | 0.11 | /*BS_Violin*/
335.53 | 0 | 1 | 0.28 | 0.28 | /*BS_Violin*/
1388.05 | 0 | 1 | 0.15 | 0.15 | /*Side_Violin*/
1716.8 | 0 | 1 | 0.03 | 0.03 | /*fifth_harmonic_Violin*/
1718.87 | 0 | 1 | 0.03 | 0.03 | /*fifth_harmonic_Violin*/
1719.55 | 0 | 1 | 0.03 | 0.03 | /*fifth_harmonic_Violin*/
1723.49 | 0 | 1 | 0.03 | 0.03 | /*fifth_harmonic_Violin*/
1734.8 | 0 | 1 | 0.02 | 0.02 | /*fifth_harmonic_Violin*/
1735.96 | 0 | 1 | 0.03 | 0.03 | /*fifth_harmonic_Violin*/
1736.2 | 0 | 1 | 0.04 | 0.04 | /*fifth_harmonic_Violin*/
1736.41 | 0 | 1 | 0.03 | 0.03 | /*fifth_harmonic_Violin*/
% VME CPU lines coincident between H1 and L1
% http://ilog.ligo-wa.caltech.edu/ilog/pub/ilog.cgi?group=detector&date_to_view=09/06/2009&anchor_to_scroll_to=2009:09:06:10:56:14-robert
54.496 | 0 | 1 | 0.0006 | 0.0006 | /*VME_CPU_Fundamental/
108.992 | 0 | 1 | 0.0006 | 0.0006 | /*VME_CPU_Harmonic/
% 2-Hz harmonics seen in early S6 in *both* H1 and L1 (based on PowerFlux outliers up to 1200 Hz)
$ https://ldas-jobs.ligo.caltech.edu/~keithr/EarlyS6Artifacts/
52 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
96 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
110 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
120 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
128 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
138 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
140 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
144 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
150 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
158 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
168 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
172 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
174 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
176 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
178 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
184 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
188 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
196 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
204 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
206 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
214 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
216 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
226 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
236 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
244 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
252 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
254 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
256 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
260 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
264 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
266 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
268 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
270 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
274 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
282 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
286 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
298 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
308 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
316 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
334 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
376 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
384 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
394 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
402 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
414 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
418 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
422 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
432 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
440 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
448 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
462 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
466 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
468 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
474 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
482 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
488 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
496 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
508 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
530 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
534 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
542 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
560 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
564 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
568 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
572 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
584 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
590 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
594 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
616 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
632 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
636 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
644 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
654 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
658 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
684 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
692 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
704 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
718 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
722 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
730 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
740 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
748 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
760 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
786 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
812 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
816 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
820 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
824 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
842 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
846 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
852 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
854 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
876 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
880 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
884 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
888 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
896 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
902 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
914 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
936 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
942 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
944 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
970 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
990 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
1000 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
1004 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
1038 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
1076 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
1102 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
1110 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
1116 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
1132 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
1134 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
1142 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
1162 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
1178 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
% Additional 2-Hz lines seen in H1 and L1 (three 1-Hz)
% https://wiki.ligo.org/DetChar/S6NoiseLineWiki2HzHarmonics
64 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
68 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
76 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
80 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
82 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
90 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
98 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
102 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
109 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
111 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
112 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
116 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
124 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
132 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
142 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
154 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
162 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
166 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
170 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
192 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
218 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
221 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
222 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
234 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
242 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
248 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
262 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
278 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
280 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
290 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
312 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
320 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
372 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
380 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
410 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
430 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
435 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
470 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
500 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
504 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
524 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
580 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
608 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
624 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
628 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
666 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
756 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
834 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
850 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
870 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
926 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
954 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
963 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
954 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
982 | 0 | 1 | 0.0006 | 0.0006 | /*2HzH1L1comb*/
% Other lines of unknown but clearly digital origin:
% https://wiki.ligo.org/DetChar/392point1863
392.2 | 0 | 1 | 0.0006 | 0.0006 | /*Digital*/
% https://wiki.ligo.org/DetChar/399point3032
399.3 | 0 | 1 | 0.0006 | 0.0006 | /*Digital*/
% Narrow 1 Hz comb:
0 | 1 | 2000 | 0.0006 | 0.0006 | /*1_Hz_lines_narrow*/